## Sheet1
All the concentration is in nM unit. Injection volume is 10 uL
All the samples have been diluted 40 times (5 uL plasma diluted with water, to a total volume of 200 uL)
All the numbers are for the diluted samples
These concentrations are beyond upper calibration curve range (5000 nM)
Sample ID | ADMA CONC | ADMA average | ADMA STD | %STD | Sample ID | NOHA CONC | NOHA average | NOHA STD | %STD | Sample ID | PHE CONC | PHE average | PHE STD | %STD
Sample 1 | 41.6 |  |  |  | Sample 1 |  |  |  |  | Sample 1 | 1487
Sample 1 | 40.6 |  |  |  | Sample 1 |  |  |  |  | Sample 1 | 1806.3
Sample 1 | 39.3 | 40.5 | 0.94163 | 2.325 | Sample 1 |  |  |  |  | Sample 1 | 1573.2 | 1622.1667 | 134.8738 | 8.3144
Sample 10 | 102.4 |  |  |  | Sample 10 | 114.4 |  |  |  | Sample 10 | 5706.5
Sample 10 | 101.3 |  |  |  | Sample 10 | 114.8 |  |  |  | Sample 10 | 4987.7
Sample 10 | 96.8 | 100.1667 | 2.4226 | 2.4185 | Sample 10 | 115.3 | 114.8333 | 0.36818 | 0.32062 | Sample 10 | 4723.5 | 5139.2333 | 415.3665 | 8.0823
Sample 11 | 79.9 |  |  |  | Sample 11 |  |  |  |  | Sample 11 | 5137.1
Sample 11 | 75.6 |  |  |  | Sample 11 | 116.7 |  |  |  | Sample 11 | 4771.4
Sample 11 | 70 | 75.1667 | 4.0533 | 5.3924 | Sample 11 | 114.5 | 115.6 | 1.1 | 0.95156 | Sample 11 | 1915.4 | 3941.3 | 1440.2864 | 36.5434
Sample 12 | 59.3 |  |  |  | Sample 12 | 115 |  |  |  | Sample 12 | 2364.1
Sample 12 | 58.6 |  |  |  | Sample 12 | 115 |  |  |  | Sample 12 | 2637
Sample 12 | 67.4 | 61.7667 | 3.9936 | 6.4656 | Sample 12 | 115.9 | 115.3 | 0.42426 | 0.36797 | Sample 12 | 2525.3 | 2508.8 | 112.0202 | 4.4651
Sample 13 | 131.4 |  |  |  | Sample 13 | 116.1 |  |  |  | Sample 13 | 5823.9
Sample 13 | 120.4 |  |  |  | Sample 13 | 116.9 |  |  |  | Sample 13 | 5587.3
Sample 13 | 132.4 | 128.0667 | 5.4365 | 4.2451 | Sample 13 | 117.4 | 116.8 | 0.53541 | 0.4584 | Sample 13 | 5240.4 | 5550.5333 | 239.6274 | 4.3172
Sample 14 | 51 |  |  |  | Sample 14 |  |  |  |  | Sample 14 | 2400.7
Sample 14 | 47 |  |  |  | Sample 14 |  |  |  |  | Sample 14 | 2499.2
Sample 14 | 48.8 | 48.9333 | 1.6357 | 3.3427 | Sample 14 |  |  |  |  | Sample 14 | 2264.3 | 2388.0667 | 96.3127 | 4.0331
Sample 15 | 86.5 |  |  |  | Sample 15 |  |  |  |  | Sample 15 | 3662.2
Sample 15 | 83.8 |  |  |  | Sample 15 | 115.5 |  |  |  | Sample 15 | 3637.7
Sample 15 | 82.3 | 84.2 | 1.7378 | 2.0639 | Sample 15 | 114.6 | 115.05 | 0.45 | 0.39113 | Sample 15 | 3674.3 | 3658.0667 | 15.2251 | 0.4162
Sample 16 | 48.5 |  |  |  | Sample 16 | 120.9 |  |  |  | Sample 16 | 1553.9
Sample 16 | 49.4 |  |  |  | Sample 16 | 119.9 |  |  |  | Sample 16 | 1324.4
Sample 16 | 50.9 | 49.6 | 0.98995 | 1.9959 | Sample 16 | 119.6 | 120.1333 | 0.55578 | 0.46263 | Sample 16 | 1448.4 | 1442.2333 | 93.7944 | 6.5034
Sample 17 | 70.8 |  |  |  | Sample 17 | 115.4 |  |  |  | Sample 17 | 3287.8
Sample 17 | 74.9 |  |  |  | Sample 17 | 114.1 |  |  |  | Sample 17 | 3242.6
Sample 17 | 60.4 | 68.7 | 6.103 | 8.8836 | Sample 17 |  | 114.75 | 0.65 | 0.56645 | Sample 17 | 3874.5 | 3468.3 | 287.8189 | 8.2986
Sample 18 | 61.7 |  |  |  | Sample 18 |  |  |  |  | Sample 18 | 4030.6
Sample 18 | 65.1 |  |  |  | Sample 18 |  |  |  |  | Sample 18 | 4464.8
Sample 18 | 57.2 | 61.3333 | 3.2356 | 5.2754 | Sample 18 |  |  |  |  | Sample 18 | 4286.6 | 4260.6667 | 178.2074 | 4.1826
Sample 2 | 32.5 |  |  |  | Sample 2 |  |  |  |  | Sample 2 | 1170.8
Sample 2 | 31.4 |  |  |  | Sample 2 |  |  |  |  | Sample 2 | 1447.5
Sample 2 | 31.9 | 31.9333 | 0.44969 | 1.4082 | Sample 2 |  |  |  |  | Sample 2 | 1383.3 | 1333.8667 | 118.2468 | 8.865
Sample 3.1 | 27.4 |  |  |  | Sample 3.1 |  |  |  |  | Sample 3.1 | 1385.2
Sample 3.1 | 27.2 |  |  |  | Sample 3.1 |  |  |  |  | Sample 3.1 | 1321.7
Sample 3.1 | 29.8 | 28.1333 | 1.1813 | 4.1991 | Sample 3.1 |  |  |  |  | Sample 3.1 | 1171 | 1292.6333 | 89.8297 | 6.9494
Sample 4 | 28.1 |  |  |  | Sample 4 |  |  |  |  | Sample 4 | 1359.3
Sample 4 | 33.2 |  |  |  | Sample 4 |  |  |  |  | Sample 4 | 1291.2
Sample 4 | 29.7 | 30.3333 | 2.1297 | 7.0209 | Sample 4 |  |  |  |  | Sample 4 | 1212.3 | 1287.6 | 60.0665 | 4.665
Sample 5 | 63.5 |  |  |  | Sample 5 |  |  |  |  | Sample 5 | 2896
Sample 5 | 55.3 |  |  |  | Sample 5 |  |  |  |  | Sample 5 | 2686.3
Sample 5 | 52.6 | 57.1333 | 4.6349 | 8.1124 | Sample 5 |  |  |  |  | Sample 5 | 2606.2 | 2729.5 | 122.1903 | 4.4767
Sample 6 | 48.9 |  |  |  | Sample 6 |  |  |  |  | Sample 6 | 1995
Sample 6 | 48.5 |  |  |  | Sample 6 |  |  |  |  | Sample 6 | 2024.6
Sample 6 | 47.7 | 48.3667 | 0.49889 | 1.0315 | Sample 6 |  |  |  |  | Sample 6 | 1878.4 | 1966 | 63.1103 | 3.2101
Sample 7 | 138.2 |  |  |  | Sample 7 | 118.4 |  |  |  | Sample 7 | 4794.4
Sample 7 | 149.7 |  |  |  | Sample 7 | 118 |  |  |  | Sample 7 | 4524.9
Sample 7 | 133.2 | 140.3667 | 6.9081 | 4.9215 | Sample 7 | 117.8 | 118.0667 | 0.24944 | 0.21127 | Sample 7 | 4559 | 4626.1 | 119.8176 | 2.59
Sample 8 | 71.7 |  |  |  | Sample 8 |  |  |  |  | Sample 8 | 2971.4
Sample 8 | 63.6 |  |  |  | Sample 8 |  |  |  |  | Sample 8 | 1240.2
Sample 8 | 64.7 | 66.6667 | 3.5873 | 5.381 | Sample 8 |  |  |  |  | Sample 8 | 2730.6 | 2314.0667 | 765.6755 | 33.0879
Sample 9 | 105.9 |  |  |  | Sample 9 | 115.6 |  |  |  | Sample 9 | 4547.9
Sample 9 | 108.7 |  |  |  | Sample 9 | 115.7 |  |  |  | Sample 9 | 4354.2
Sample 9 | 109.5 | 108.0333 | 1.5434 | 1.4287 | Sample 9 | 114.6 | 115.3 | 0.49666 | 0.43075 | Sample 9 | 4063.7 | 4321.9333 | 198.9862 | 4.6041
Sample ID | MSG CONC | MSG average | MSG STD | %STD | Sample ID | PRO CONC | PRO average | PRO STD | %STD | Sample ID | CIT CONC | CIT average | CIT STD | %STD
Sample 1 | 717.9 |  |  |  | Sample 1 | 2224.2 |  |  |  | Sample 1 | 299.8
Sample 1 | 810.6 |  |  |  | Sample 1 | 2232.1 |  |  |  | Sample 1 | 297.1
Sample 1 | 594.7 | 707.7333 | 88.4335 | 12.4953 | Sample 1 | 1958.7 | 2138.3333 | 127.0609 | 5.9421 | Sample 1 | 320.9 | 305.9333 | 10.6403 | 3.478
Sample 10 | 447.9 |  |  |  | Sample 10 | 6537 |  |  |  | Sample 10 | 480.1
Sample 10 | 313.2 |  |  |  | Sample 10 | 6580.6 |  |  |  | Sample 10 | 493.4
Sample 10 | 354.5 | 371.8667 | 56.3455 | 15.1521 | Sample 10 | 5752.8 | 6290.1333 | 380.3687 | 6.0471 | Sample 10 | 437.1 | 470.2 | 24.0268 | 5.1099
Sample 11 | 949.3 |  |  |  | Sample 11 | 4337.1 |  |  |  | Sample 11 | 274.5
Sample 11 | 948.7 |  |  |  | Sample 11 | 3702.5 |  |  |  | Sample 11 | 279.5
Sample 11 | 997.1 | 965.0333 | 22.6759 | 2.3498 | Sample 11 | 4088.2 | 4042.6 | 261.0732 | 6.4581 | Sample 11 | 260.6 | 271.5333 | 7.996 | 2.9447
Sample 12 | 556.2 |  |  |  | Sample 12 | 1302.6 |  |  |  | Sample 12 | 201.3
Sample 12 | 372.7 |  |  |  | Sample 12 | 1388.4 |  |  |  | Sample 12 | 219.8
Sample 12 | 312.4 | 413.7667 | 103.6805 | 25.0577 | Sample 12 | 1352.9 | 1347.9667 | 35.201 | 2.6114 | Sample 12 | 242.2 | 221.1 | 16.7226 | 7.5634
Sample 13 | 1018.4 |  |  |  | Sample 13 | 8512.8 |  |  |  | Sample 13 | 506.7
Sample 13 | 1007.1 |  |  |  | Sample 13 | 8272.7 |  |  |  | Sample 13 | 498.8
Sample 13 | 996.1 | 1007.2 | 9.1042 | 0.90391 | Sample 13 | 7409.7 | 8065.0667 | 473.6673 | 5.8731 | Sample 13 | 517.7 | 507.7333 | 7.7504 | 1.5265
Sample 14 | 435.5 |  |  |  | Sample 14 | 1494.8 |  |  |  | Sample 14 | 212.9
Sample 14 | 427 |  |  |  | Sample 14 | 1429.6 |  |  |  | Sample 14 | 206
Sample 14 | 427.5 | 430 | 3.8944 | 0.90568 | Sample 14 | 1394.9 | 1439.7667 | 41.4127 | 2.8764 | Sample 14 | 236.1 | 218.3333 | 12.8749 | 5.8969
Sample 15 | 713.4 |  |  |  | Sample 15 | 2869.6 |  |  |  | Sample 15 | 370.5
Sample 15 | 798.1 |  |  |  | Sample 15 | 3055.5 |  |  |  | Sample 15 | 392.3
Sample 15 | 529.4 | 680.3 | 112.1654 | 16.4876 | Sample 15 | 2971.9 | 2965.6667 | 76.0212 | 2.5634 | Sample 15 | 408.8 | 390.5333 | 15.6857 | 4.0165
Sample 16 | 229.9 |  |  |  | Sample 16 | 830.9 |  |  |  | Sample 16 | 229.5
Sample 16 | 236 |  |  |  | Sample 16 | 815.8 |  |  |  | Sample 16 | 251.6
Sample 16 | 157.2 | 207.7 | 35.7956 | 17.2343 | Sample 16 | 789.1 | 811.9333 | 17.2824 | 2.1286 | Sample 16 | 240.5 | 240.5333 | 9.0223 | 3.751
Sample 17 | 341.7 |  |  |  | Sample 17 | 1446.2 |  |  |  | Sample 17 | 252.2
Sample 17 | 337.7 |  |  |  | Sample 17 | 1348.2 |  |  |  | Sample 17 | 257
Sample 17 | 293 | 324.1333 | 22.0751 | 6.8105 | Sample 17 | 1519 | 1437.8 | 69.9813 | 4.8673 | Sample 17 | 232.1 | 247.1 | 10.7861 | 4.3651
Sample 18 | 50.1 |  |  |  | Sample 18 | 1968 |  |  |  | Sample 18 | 206.1
Sample 18 | 127 |  |  |  | Sample 18 | 2073.5 |  |  |  | Sample 18 | 224
Sample 18 | 110.4 | 95.8333 | 33.0408 | 34.4774 | Sample 18 | 2103.2 | 2048.2333 | 58.0147 | 2.8324 | Sample 18 | 237.4 | 222.5 | 12.8221 | 5.7627
Sample 2 | 453.4 |  |  |  | Sample 2 | 1232.1 |  |  |  | Sample 2 | 344
Sample 2 | 241.8 |  |  |  | Sample 2 | 1506.7 |  |  |  | Sample 2 | 285.3
Sample 2 | 284.6 | 326.6 | 91.3478 | 27.9693 | Sample 2 | 1442.3 | 1393.7 | 117.254 | 8.4131 | Sample 2 | 294.4 | 307.9 | 25.7955 | 8.3779
Sample 3.1 | 331.4 |  |  |  | Sample 3.1 | 649.9 |  |  |  | Sample 3.1 | 203.3
Sample 3.1 | 443.9 |  |  |  | Sample 3.1 | 610.8 |  |  |  | Sample 3.1 | 211.8
Sample 3.1 | 780.7 | 518.6667 | 190.8929 | 36.8045 | Sample 3.1 | 607 | 622.5667 | 19.3897 | 3.1145 | Sample 3.1 | 198.9 | 204.6667 | 5.3543 | 2.6161
Sample 4 | 572.8 |  |  |  | Sample 4 | 675.3 |  |  |  | Sample 4 | 206.4
Sample 4 | 773.8 |  |  |  | Sample 4 | 641.4 |  |  |  | Sample 4 | 207.9
Sample 4 | 774.6 | 707.0667 | 94.9414 | 13.4275 | Sample 4 | 576.9 | 631.2 | 40.814 | 6.4661 | Sample 4 | 211.8 | 208.7 | 2.276 | 1.0905
Sample 5 | 462.6 |  |  |  | Sample 5 | 1748.1 |  |  |  | Sample 5 | 176.7
Sample 5 | 409.2 |  |  |  | Sample 5 | 1750.4 |  |  |  | Sample 5 | 160.6
Sample 5 | 467.7 | 446.5 | 26.4571 | 5.9255 | Sample 5 | 1816.4 | 1771.6333 | 31.6687 | 1.7875 | Sample 5 | 186.5 | 174.6 | 10.6774 | 6.1153
Sample 6 | 301.2 |  |  |  | Sample 6 | 1979 |  |  |  | Sample 6 | 290.4
Sample 6 | 326.9 |  |  |  | Sample 6 | 2062 |  |  |  | Sample 6 | 302.7
Sample 6 | 446.8 | 358.3 | 63.4524 | 17.7093 | Sample 6 | 1963.6 | 2001.5333 | 43.2161 | 2.1592 | Sample 6 | 286.2 | 293.1 | 7.0014 | 2.3888
Sample 7 | 330.4 |  |  |  | Sample 7 | 5001.3 |  |  |  | Sample 7 | 643.8
Sample 7 | 318.1 |  |  |  | Sample 7 | 4830.6 |  |  |  | Sample 7 | 670.9
Sample 7 | 159.7 | 269.4 | 77.732 | 28.8537 | Sample 7 | 4928.8 | 4920.2333 | 69.9508 | 1.4217 | Sample 7 | 544.3 | 619.6667 | 54.4286 | 8.7835
Sample 8 | 152 |  |  |  | Sample 8 | 1783.2 |  |  |  | Sample 8 | 258.5
Sample 8 | 215.9 |  |  |  | Sample 8 | 1579.5 |  |  |  | Sample 8 | 256.3
Sample 8 | 127.2 | 165.0333 | 37.366 | 22.6415 | Sample 8 | 1492.8 | 1618.5 | 121.7204 | 7.5206 | Sample 8 | 298.7 | 271.1667 | 19.4897 | 7.1874
Sample 9 | 417.3 |  |  |  | Sample 9 | 4611.2 |  |  |  | Sample 9 | 335.3
Sample 9 | 283.6 |  |  |  | Sample 9 | 4460.9 |  |  |  | Sample 9 | 349.6
Sample 9 | 466.6 | 389.1667 | 77.3126 | 19.8662 | Sample 9 | 4624.1 | 4565.4 | 74.0801 | 1.6226 | Sample 9 | 356.6 | 347.1667 | 8.8643 | 2.5533
Sample ID | ARG CONC | ARG average | ARG STD | %STD | Sample ID | GLUT CONC | GLUT average | GLUT STD | %STD | Sample ID | ORN CONC | ORN average | ORN STD | %STD
Sample 1 | 4387 |  |  |  | Sample 1 | 16445.3 |  |  |  | Sample 1 | 2021.7
Sample 1 | 3852.2 |  |  |  | Sample 1 | 20684.7 |  |  |  | Sample 1 | 1896.5
Sample 1 | 3932.2 | 4057.1333 | 235.5264 | 5.8052 | Sample 1 | 20164.4 | 19098.1333 | 1887.8244 | 9.8849 | Sample 1 | 1851.9 | 1923.3667 | 71.8766 | 3.737
Sample 10 | 2431.3 |  |  |  | Sample 10 | 28273.8 |  |  |  | Sample 10 | 4750.7
Sample 10 | 2224.8 |  |  |  | Sample 10 | 27859.4 |  |  |  | Sample 10 | 5082.3
Sample 10 | 2336.1 | 2330.7333 | 84.3886 | 3.6207 | Sample 10 | 28248.3 | 28127.1667 | 189.6256 | 0.67417 | Sample 10 | 5166.4 | 4999.8 | 179.4553 | 3.5892
Sample 11 | 96.5 |  |  |  | Sample 11 | 21985.1 |  |  |  | Sample 11 | 10572.8
Sample 11 | 114.6 |  |  |  | Sample 11 | 19942 |  |  |  | Sample 11 | 10439.9
Sample 11 | 95.8 | 102.3 | 8.7021 | 8.5065 | Sample 11 | 18778.1 | 20235.0667 | 1325.551 | 6.5508 | Sample 11 | 11291.9 | 10768.2 | 374.2654 | 3.4757
Sample 12 | 1552.4 |  |  |  | Sample 12 | 15454 |  |  |  | Sample 12 | 3250.7
Sample 12 | 1631.6 |  |  |  | Sample 12 | 15036.7 |  |  |  | Sample 12 | 2738.4
Sample 12 | 1599.2 | 1594.4 | 32.5109 | 2.0391 | Sample 12 | 15749.8 | 15413.5 | 292.527 | 1.8979 | Sample 12 | 2878.1 | 2955.7333 | 216.2299 | 7.3156
Sample 13 | 2274.7 |  |  |  | Sample 13 | 31422.8 |  |  |  | Sample 13 | 10188.7
Sample 13 | 2152.6 |  |  |  | Sample 13 | 33809.4 |  |  |  | Sample 13 | 9629.7
Sample 13 | 2225.7 | 2217.6667 | 50.1697 | 2.2623 | Sample 13 | 36092 | 33774.7333 | 1906.3505 | 5.6443 | Sample 13 | 9501 | 9773.1333 | 298.5104 | 3.0544
Sample 14 | 1932.9 |  |  |  | Sample 14 | 15161.5 |  |  |  | Sample 14 | 2556.3
Sample 14 | 1938.1 |  |  |  | Sample 14 | 15766 |  |  |  | Sample 14 | 2701.9
Sample 14 | 1900.4 | 1923.8 | 16.6819 | 0.86713 | Sample 14 | 14829.6 | 15252.3667 | 387.6457 | 2.5415 | Sample 14 | 2349.4 | 2535.8667 | 144.631 | 5.7034
Sample 15 | 594.8 |  |  |  | Sample 15 | 19836.4 |  |  |  | Sample 15 | 7387.3
Sample 15 | 579.1 |  |  |  | Sample 15 | 20668.4 |  |  |  | Sample 15 | 6787.3
Sample 15 | 580.4 | 584.7667 | 7.1145 | 1.2166 | Sample 15 | 18482.9 | 19662.5667 | 900.6539 | 4.5806 | Sample 15 | 7750.7 | 7308.4333 | 397.2404 | 5.4354
Sample 16 | 2642.4 |  |  |  | Sample 16 | 17930.8 |  |  |  | Sample 16 | 819.5
Sample 16 | 2878 |  |  |  | Sample 16 | 18863 |  |  |  | Sample 16 | 804.4
Sample 16 | 2749.5 | 2756.6333 | 96.3155 | 3.494 | Sample 16 | 19221.1 | 18671.6333 | 543.8654 | 2.9128 | Sample 16 | 685.8 | 769.9 | 59.7863 | 7.7655
Sample 17 | 1746.2 |  |  |  | Sample 17 | 16494.8 |  |  |  | Sample 17 | 3087.2
Sample 17 | 1836.7 |  |  |  | Sample 17 | 15811.9 |  |  |  | Sample 17 | 3325.5
Sample 17 | 1760.4 | 1781.1 | 39.7402 | 2.2312 | Sample 17 | 16506 | 16270.9 | 324.5942 | 1.9949 | Sample 17 | 3265.6 | 3226.1 | 101.2156 | 3.1374
Sample 18 | 528.3 |  |  |  | Sample 18 | 11004.1 |  |  |  | Sample 18 | 3796.6
Sample 18 | 519 |  |  |  | Sample 18 | 11928.8 |  |  |  | Sample 18 | 3703.6
Sample 18 | 490.9 | 512.7333 | 15.8985 | 3.1007 | Sample 18 | 12429.9 | 11787.6 | 590.5813 | 5.0102 | Sample 18 | 3625.5 | 3708.5667 | 69.9395 | 1.8859
Sample 2 | 3241.2 |  |  |  | Sample 2 | 12189.9 |  |  |  | Sample 2 | 1009.3
Sample 2 | 3093.7 |  |  |  | Sample 2 | 11906 |  |  |  | Sample 2 | 864.2
Sample 2 | 3085.1 | 3140 | 71.6453 | 2.2817 | Sample 2 | 11259.2 | 11785.0333 | 389.4657 | 3.3047 | Sample 2 | 898.6 | 924.0333 | 61.9066 | 6.6996
Sample 3.1 | 1857.9 |  |  |  | Sample 3.1 | 9270 |  |  |  | Sample 3.1 | 428.1
Sample 3.1 | 1779 |  |  |  | Sample 3.1 | 10584 |  |  |  | Sample 3.1 | 499.6
Sample 3.1 | 1755.8 | 1797.5667 | 43.7008 | 2.4311 | Sample 3.1 | 14140.5 | 11331.5 | 2057.4272 | 18.1567 | Sample 3.1 | 440.5 | 456.0667 | 31.1962 | 6.8403
Sample 4 | 1646 |  |  |  | Sample 4 | 12803.4 |  |  |  | Sample 4 | 326.2
Sample 4 | 1941.5 |  |  |  | Sample 4 | 14472.2 |  |  |  | Sample 4 | 441
Sample 4 | 2047.9 | 1878.4667 | 170.0212 | 9.0511 | Sample 4 | 14503.9 | 13926.5 | 794.2571 | 5.7032 | Sample 4 | 425.8 | 397.6667 | 50.9141 | 12.8032
Sample 5 | 0.3 |  |  |  | Sample 5 | 13090.4 |  |  |  | Sample 5 | 5283.8
Sample 5 | 0.7 |  |  |  | Sample 5 | 13376.7 |  |  |  | Sample 5 | 5321.3
Sample 5 | 2.7 | 1.2333 | 1.0499 | 85.1244 | Sample 5 | 13958.4 | 13475.1667 | 361.135 | 2.68 | Sample 5 | 5552.1 | 5385.7333 | 118.631 | 2.2027
Sample 6 | 0 |  |  |  | Sample 6 | 15955.6 |  |  |  | Sample 6 | 6710.6
Sample 6 | 0 |  |  |  | Sample 6 | 16901.8 |  |  |  | Sample 6 | 6621.5
Sample 6 | 0 |  |  |  | Sample 6 | 16756.5 | 16537.9667 | 416.0458 | 2.5157 | Sample 6 | 6697 | 6676.3667 | 39.1919 | 0.58702
Sample 7 | 28.3 |  |  |  | Sample 7 | 28420.6 |  |  |  | Sample 7 | 11247.1
Sample 7 | 38 |  |  |  | Sample 7 | 30774.5 |  |  |  | Sample 7 | 11804.4
Sample 7 | 10.4 | 25.5667 | 11.4322 | 44.7153 | Sample 7 | 24601.1 | 27932.0667 | 2543.8443 | 9.1073 | Sample 7 | 10452.1 | 11167.8667 | 554.9098 | 4.9688
Sample 8 | 703.3 |  |  |  | Sample 8 | 15959.3 |  |  |  | Sample 8 | 4420.3
Sample 8 | 714.8 |  |  |  | Sample 8 | 16042.4 |  |  |  | Sample 8 | 4616.7
Sample 8 | 732.8 | 716.9667 | 12.1404 | 1.6933 | Sample 8 | 16555.8 | 16185.8333 | 263.7965 | 1.6298 | Sample 8 | 4840.5 | 4625.8333 | 171.6675 | 3.7111
Sample 9 | 246.2 |  |  |  | Sample 9 | 29829.2 |  |  |  | Sample 9 | 10252.7
Sample 9 | 283.3 |  |  |  | Sample 9 | 27278.7 |  |  |  | Sample 9 | 10378.5
Sample 9 | 308 | 279.1667 | 25.3985 | 9.098 | Sample 9 | 31879.6 | 29662.5 | 1882.0046 | 6.3447 | Sample 9 | 10801.6 | 10477.6 | 234.7884 | 2.2409
Sample ID | SPD CONC | SPD average | SPD STD | %STD
Sample 1 | 103.5
Sample 1 | 115.1
Sample 1 | 124 | 114.2 | 8.3933 | 7.3496
Sample 10 | 12.6
Sample 10 | 13.8
Sample 10 | 12.9 | 13.1 | 0.5099 | 3.8924
Sample 11 | 21.3
Sample 11 | 21
Sample 11 | 24.8 | 22.3667 | 1.725 | 7.7123
Sample 12 | 12.3
Sample 12 | 14
Sample 12 | 12.9 | 13.0667 | 0.70396 | 5.3874
Sample 13 | 79.4
Sample 13 | 78
Sample 13 | 82.7 | 80.0333 | 1.9703 | 2.4619
Sample 14 | 8.5
Sample 14 | 6.8
Sample 14 | 6.7 | 7.3333 | 0.82597 | 11.2632
Sample 15 | 12.8
Sample 15 | 12.6
Sample 15 | 13.2 | 12.8667 | 0.24944 | 1.9387
Sample 16 | 8.3
Sample 16 | 7.4
Sample 16 | 5.9 | 7.2 | 0.98995 | 13.7493
Sample 17 | 12.6
Sample 17 | 10.1
Sample 17 | 12 | 11.5667 | 1.0656 | 9.2129
Sample 18 | 6.3
Sample 18 | 5.8
Sample 18 | 6.7 | 6.2667 | 0.36818 | 5.8752
Sample 2 | 6.4
Sample 2 | 6.6
Sample 2 | 6.8 | 6.6 | 0.1633 | 2.4742
Sample 3.1 | 5.4
Sample 3.1 | 6.6
Sample 3.1 | 6.9 | 6.3 | 0.64807 | 10.2869
Sample 4 | 8.7
Sample 4 | 10.8
Sample 4 | 10.6 | 10.0333 | 0.94634 | 9.4319
Sample 5 | 11.3
Sample 5 | 10.5
Sample 5 | 10.5 | 10.7667 | 0.37712 | 3.5027
Sample 6 | 9.5
Sample 6 | 8.7
Sample 6 | 9.2 | 9.1333 | 0.32998 | 3.613
Sample 7 | 12.9
Sample 7 | 17.2
Sample 7 | 14.5 | 14.8667 | 1.7745 | 11.9362
Sample 8 | 10
Sample 8 | 9.9
Sample 8 | 9.2 | 9.7 | 0.3559 | 3.6691
Sample 9 | 16.3
Sample 9 | 16.4
Sample 9 | 16.9 | 16.5333 | 0.26247 | 1.5875

## nicole_edits
Sample | ADMA | PHE | MSG | PRO | CIT | ARG | GLUT | ORN
1 | 40.5 | 1622.1667 | 707.7333 | 2138.3333 | 305.9333 | 4057.1333 | 19098.1333 | 1923.3667
2 | 31.9333 | 1333.8667 | 326.6 | 6290.1333 | 307.9 | 3140 | 11785.0333 | 924.0333
3.1 | 28.1333 | 1292.6333 | 518.6667 | 4042.6 | 204.6667 | 1797.5667 | 11331.5 | 456.0667
4 | 30.3333 | 1287.6 | 707.0667 | 1347.9667 | 208.7 | 1878.4667 | 13926.5 | 397.6667
5 | 57.1333 | 2729.5 | 446.5 | 8065.0667 | 174.6 | 1.2333 | 13475.1667 | 5385.7333 | don't trust this sample
6 | 48.3667 | 1966 | 358.3 | 1439.7667 | 293.1 | NA | 16537.9667 | 6676.3667
7 | 140.3667 | 4626.1 | 269.4 | 2965.6667 | 619.6667 | 25.5667 | 27932.0667 | 11167.8667
8 | 66.6667 | 2314.0667 | 165.0333 | 811.9333 | 271.1667 | 716.9667 | 16185.8333 | 4625.8333
9 | 108.0333 | 4321.9333 | 389.1667 | 1437.8 | 347.1667 | 279.1667 | 29662.5 | 10477.6
10 | 100.1667 | 5139.2333 | 371.8667 | 2048.2333 | 470.2 | 2330.7333 | 28127.1667 | 4999.8
11 | 75.1667 | 3941.3 | 965.0333 | 1393.7 | 271.5333 | 102.3 | 20235.0667 | 10768.2
12 | 61.7667 | 2508.8 | 413.7667 | 622.5667 | 221.1 | 1594.4 | 15413.5 | 2955.7333
13 | 128.0667 | 5550.5333 | 1007.2 | 631.2 | 507.7333 | 2217.6667 | 33774.7333 | 9773.1333
14 | 48.9333 | 2388.0667 | 430 | 1771.6333 | 218.3333 | 1923.8 | 15252.3667 | 2535.8667
15 | 84.2 | 3658.0667 | 680.3 | 2001.5333 | 390.5333 | 584.7667 | 19662.5667 | 7308.4333
16 | 49.6 | 1442.2333 | 207.7 | 4920.2333 | 240.5333 | 2756.6333 | 18671.6333 | 769.9
17 | 68.7 | 3468.3 | 324.1333 | 1618.5 | 247.1 | 1781.1 | 16270.9 | 3226.1
18 | 61.3333 | 4260.6667 | 95.8333 | 4565.4 | 222.5 | 512.7333 | 11787.6 | 3708.5667
Sample | ADMA | PHE | MSG | PRO | CIT | ARG | GLUT | ORN |  | ADMA | PHE | MSG | PRO | CIT | ARG | GLUT | ORN
1 | 1.62 | 64.8867 | 28.3093 | 85.5333 | 12.2373 | 162.2853 | 763.9253 | 76.9347 |  | 1.5858 | 66.6025 | 23.2633 | 84.0467 | 25.29 | 168.8575 | 686.2592 | 107.6967
2 | 1.2773 | 53.3547 | 13.064 | 251.6053 | 12.316 | 125.6 | 471.4013 | 36.9613 |  | 1.4283 | 60.45 | 21.4758 | 55.5175 | 30.1325 | 169.1775 | 686.8642 | 94.6258
3.1 | 1.1253 | 51.7053 | 20.7467 | 161.704 | 8.1867 | 71.9027 | 453.26 | 18.2427 |  | 0.94667 | 63.8817 | 21.8992 | 31.9817 | 18.7 | 103.1083 | 413.7433 | 98.33
4 | 1.2133 | 51.504 | 28.2827 | 53.9187 | 8.348 | 75.1387 | 557.06 | 15.9067 |  | 2.2817 | 111.4342 | 26.0792 | 59.9967 | 18.46 | 4.9392 | 707.855 | 196.54
5 | 2.2853 | 109.18 | 17.86 | 322.6027 | 6.984 | 0.049333 | 539.0067 | 215.4293 | don't trust | 2.1875 | 92.4967 | 8.6583 | 71.0825 | 30.495 | 10.1292 | 670.2717 | 335.8333
6 | 1.9347 | 78.64 | 14.332 | 57.5907 | 11.724 | #VALUE! | 661.5187 | 267.0547 | not available | 9.375 | 259.1467 | 35.1533 | 232.0842 | 109.8642 | 18.505 | 2405.7217 | 729.9058
7 | 5.6147 | 185.044 | 10.776 | 118.6267 | 24.7867 | 1.0227 | 1117.2827 | 446.7147
8 | 2.6667 | 92.5627 | 6.6013 | 32.4773 | 10.8467 | 28.6787 | 647.4333 | 185.0333
9 | 4.3213 | 172.8773 | 15.5667 | 57.512 | 13.8867 | 11.1667 | 1186.5 | 419.104
10 | 4.0067 | 205.5693 | 14.8747 | 81.9293 | 18.808 | 93.2293 | 1125.0867 | 199.992
11 | 3.0067 | 157.652 | 38.6013 | 55.748 | 10.8613 | 4.092 | 809.4027 | 430.728
12 | 2.4707 | 100.352 | 16.5507 | 24.9027 | 8.844 | 63.776 | 616.54 | 118.2293
13 | 5.1227 | 222.0213 | 40.288 | 25.248 | 20.3093 | 88.7067 | 1350.9893 | 390.9253
14 | 1.9573 | 95.5227 | 17.2 | 70.8653 | 8.7333 | 76.952 | 610.0947 | 101.4347
15 | 3.368 | 146.3227 | 27.212 | 80.0613 | 15.6213 | 23.3907 | 786.5027 | 292.3373
16 | 1.984 | 57.6893 | 8.308 | 196.8093 | 9.6213 | 110.2653 | 746.8653 | 30.796
17 | 2.748 | 138.732 | 12.9653 | 64.74 | 9.884 | 71.244 | 650.836 | 129.044
18 | 2.4533 | 170.4267 | 3.8333 | 182.616 | 8.9 | 20.5093 | 471.504 | 148.3427

## forR
Sample | Mouse.ID | SampleType | Infected? | ARG | ORN | CIT
1 | 190429Arg2cross1.26 | experiment | n | 162.2853 | 76.9347 | 12.2373
2 | 190429Arg2cross1.30 | experiment | n | 125.6 | 36.9613 | 12.316
3 | healthy plasma 1 | control | n | 71.9027 | 18.2427 | 8.1867
4 | healthy plasma 2 | control | n | 75.1387 | 15.9067 | 8.348
5 | 190429Arg2cross1.43 | experiment | y | 0.049333 | 215.4293 | 6.984
6 | 190429Arg2cross1.44 | experiment | y | NA | 267.0547 | 11.724
7 | 190618Arg2cross2.78 | experiment | y | 1.0227 | 446.7147 | 24.7867
8 | 190817ArgTekcross2.1 | experiment | y | 28.6787 | 185.0333 | 10.8467
9 | 190817ArgTekcross2.2 | experiment | y | 11.1667 | 419.104 | 13.8867
10 | 190817ArgTekcross2.3 | experiment | y | 93.2293 | 199.992 | 18.808
11 | 190817ArgTekcross2.4 | experiment | y | 4.092 | 430.728 | 10.8613
12 | 190817ArgTekcross2.5 | experiment | y | 63.776 | 118.2293 | 8.844
13 | 190817ArgTekcross2.6 | experiment | y | 88.7067 | 390.9253 | 20.3093
14 | 190817ArgTekcross2.7 | experiment | y | 76.952 | 101.4347 | 8.7333
15 | 190817ArgTekcross2.8 | experiment | y | 23.3907 | 292.3373 | 15.6213
16 | 190817ArgTekcross2.9 | experiment | y | 110.2653 | 30.796 | 9.6213
17 | 190817ArgTekcross2.10 | experiment | y | 71.244 | 129.044 | 9.884
18 | 190817ArgTekcross2.12 | experiment | y | 20.5093 | 148.3427 | 8.9